# EXPLORING THE APPLICATION OF STATISTICAL LEARNING THEORY TO VOLTAGE STABILITY ANALYSIS ON THE BIRNIN KEBBI 330 KV POWER TRANSMISSION NETWORK: A COMPREHENSIVE REVIEW

# BY

YABANI GELWASA GALADIM1 and PEACE IFEOLUWA IKUFORIJ2

1Department of Elect/Elect Engineering Abdullahi Fodio University of Science and Technology,Aliero, Nigeria.

2Department of Mathematics, Abdullahi Fodio University of Science and Technology, Aliero, Nigeria

CORRESSPONDING AUTHOR

Yabani Gelwasa Galadim1

Department of Elect/Elect Engineering

Abdullahi Fodio University of Science and Technology,

Aliero, Nigeria.

yabani.galadima@ksusta.edu.ng

https://orcid.org/0009-0006-0525-4044

## ABSTRACT

## Voltage instability remains a persistent challenge in Nigeria’s high-voltage grid, including the Birnin Kebbi 330 kV corridor. Aging infrastructure, increasing load, and limited high-resolution telemetry hinder conventional analysis. This review explores how Statistical Learning Theory (SLT), with key concepts like empirical risk minimization, structural risk minimization, margin maximization, and capacity control, can enable robust voltage stability analysis amid data scarcity and noise. We relate SLT ideas to practical tasks such as regression of stability indices, binary and ordinal classification of stability states, and early-warning forecasting. The review covers model families (SVMs, kernel methods, regularized regression), feature extraction from SCADA-like signals, handling class imbalance, and methods for uncertainty quantification. It outlines evaluation protocols, using MSE as the main regression metric, proposes a Birnin Kebbi–specific workflow, and addresses open challenges like domain shift, missing data, and causal confounding. The conclusion presents a roadmap that combines SLT principles with modern techniques (e.g., GAN-generated data) to produce interpretable, capacity-controlled, offline monitoring suitable for under-instrumented networks.

Keywords: Voltage Stability; Statistical Learning Theory; PAC-Bayes & Rademacher Complexity; Data-Driven Assessment; Nigerian 330 kV Grid

## I Introduction

Voltage stability is a critical aspect of power system reliability, ensuring that all bus voltages remain within acceptable limits during normal fluctuations and system disturbances. A loss of voltage stability often appears as a gradual voltage decline, which can lead to a voltage collapse and widespread blackouts [1], [2]. These events are not only technically disruptive but also have serious socio-economic impacts, as evidenced by notable historical cases like the 2003 North American blackout and the 2012 India grid failure[1]. In developing countries such as Nigeria, voltage instability is more frequent due to aging infrastructure, insufficient reactive power compensation, poor maintenance, and the increasing complexity of load demands[3], [4]. The Birnin Kebbi 330 kV transmission network, a crucial hub in Nigeria’s north-western power corridor, faces these challenges acutely, making it an ideal case for focused voltage stability studies.

Conventional voltage stability assessment methods such as power flow analysis with the Newton-Raphson algorithm, continuation power flow (CPF), and time-domain simulations are effective for well-instrumented grids with extensive high-resolution data [5], [6], [7]. However, these methods become less efficient in environments with limited instrumentation, where the scarcity of Phasor Measurement Units (PMUs) and limited Supervisory Control and Data Acquisition (SCADA) sampling rates restrict access to real-time, detailed system measurements[8], [9]. Furthermore, these traditional techniques are computationally demanding, making them unsuitable for frequent or large-scale offline studies in grids experiencing rapid operational changes. For the Birnin Kebbi substation, where monitoring infrastructure is limited, there is an urgent need for data-driven, computationally efficient, and broadly applicable approaches to voltage stability assessment.

Statistical Learning Theory (SLT) offers a rigorous mathematical framework for designing predictive models that can perform reliably under such data constraints. By focusing on principles such as structural risk minimization, capacity control, and margin maximization, SLT ensures that models are not only accurate on training data but also generalize well to unseen conditions. This is particularly important for voltage stability analysis in the Birnin Kebbi network, where operating conditions can vary significantly between seasons, load profiles, and grid configurations. SLT-guided models such as Support Vector Machines (SVMs), kernel regression, and regularized estimators are well-suited to balance the bias-variance trade-off, handle noisy measurements, and provide interpretable outputs for operational decision-making[9], [10].

Recent advances in data augmentation, including synthetic sample generation with Generative Adversarial Networks (GANs), further enhance the SLT framework by addressing the inherent class imbalance in voltage stability datasets[9], [11], [12]. Rare instability events, which are crucial for model learning, can be underrepresented in historical records. Augmentation strategies help enrich the dataset while SLT principles maintain control over model capacity, ensuring that overfitting is avoided [13]. By integrating SLT with domain-specific knowledge of power systems, this approach can produce offline voltage stability monitoring frameworks that are robust, scalable, and directly usable for operational planning in under-instrumented grids like Birnin Kebbi.

## II Statistical Learning Theory: Fundamental Concepts

## Statistical Learning Theory (SLT) provides a structured method to link a model's fit to data with its ability to perform well on new, unseen cases. Its key component, Empirical Risk Minimization (ERM), involves choosing the model with the lowest average loss on training data, such as mean squared error for predicting a voltage stability index or load margin. However, ERM alone can lead to overfitting, especially when data measurements are noisy or operating conditions change. Structural Risk Minimization (SRM) addresses this by analyzing a hierarchy of hypothesis classes, from simple to complex, and selecting the one that minimizes an established upper bound on the true, or generalization, error[13], [14], [15]. In Birnin Kebbi’s voltage stability analysis, ERM effectively captures in-sample indices like LL-index or Thevenin-style margins, while SRM helps ensure model reliability amid changes in network topology or seasonal loading.

To make SRM practical, SLT introduces capacity metrics, formal measures to assess a model’s tendency to overfit [15]. These include VC dimension, Rademacher complexity, and margin-based measures, which guide how aggressively to regularize a model and when to stop adding layers, features, or kernels. Combined with capacity control, regularization methods help balance bias and variance: 𝐿2 weight decay discourages large parameters, L1 promotes sparsity and interpretability (useful for identifying critical buses or lines), early stopping prevents overtraining on limited snapshots, and kernel width regulation in kernel methods controls function smoothness [16], [17]. For the Birnin Kebbi corridor, where labeled events near voltage collapse are scarce, these tools enable the creation of models that remain stable despite small datasets and measurement noise.

A particularly effective SLT idea for binary stability decisions (e.g., secure vs. at-risk) is margin maximization. Support Vector Machines (SVMs) and other large-margin classifiers aim to separate classes with the widest possible gap, which increases robustness to outliers and small perturbations in voltages or power flows. Soft-margin formulations allow controlled violations, so the classifier tolerates mislabeled or borderline operating points without collapsing its decision boundary[18], [19], [20]. In practice, margin-based methods often provide strong baselines for N-1 contingency screening and critical-bus identification; they can be augmented with class-imbalance treatments (reweighting or focal losses) and calibrated thresholds so that operators see conservative, high-precision alerts rather than noisy alarms.

Finally, generalization bounds make model selection a more engineering-focused task by indicating how training accuracy predicts real-world performance. PAC-style and Rademacher-based bounds demonstrate that test error roughly equals training error plus a capacity component that diminishes as more Data and regularization are applied. These bounds are especially useful when moving from IEEE test cases to the real Birnin Kebbi 330 kV network, where operating conditions, device settings, and contingencies vary. A practical workflow involves: (1) fitting with ERM; (2) selecting model complexity through SRM guided by capacity estimates; (3) applying explicit regularization and margin maximization; and (4) reporting bound-aware performance with confidence before deployment. This approach yields models that are not only accurate but also certified to generalize, giving planners and operators reliable evidence for live voltage stability monitoring and decision-making.

## III  Problem Formulations in Voltage Stability

Voltage stability analysis can be approached through several complementary problem formulations depending on the operational goal and the types of outputs needed by system operators. A common method is regression, where the goal is to predict a continuous Voltage Stability Margin (VSM) or Voltage Stability Index (VSI) based on measurable system features. These features can include bus voltage magnitudes and phase angles, active and reactive power flows, transformer tap positions, and shunt device statuses[1], [21]. The aim is to connect these high-dimensional input vectors to a single continuous value that measures the “distance to instability.” In such cases, the mean squared error (MSE) is typically the main optimization metric, as it directly penalizes differences between predicted and actual stability margins. This approach is especially useful for proactive control, as it allows operators to gauge how close the system is to a critical point rather than simply determining if it is stable or not[3], [22], [23].

Another key formulation is binary or ordinal classification, which simplifies operational decisions by categorizing each operating point into specific stability states [15]. A binary approach labels the system as either secure or critical, while an ordinal method introduces intermediate categories such as secure, warning, and risk. This layering supports tiered response strategies, where different mitigation measures are applied depending on the severity level. For such tasks, margin-based loss functions like the hinge loss in Support Vector Machines align well with Statistical Learning Theory principles, as they aim to maximize the gap between classes [16]. This margin maximization typically improves robustness against noise, mislabeled samples, and operating points near class boundaries, making the system more reliable for online deployment where misclassifying borderline states can be costly.

A third important category is early-warning prediction, which aims to forecast the approach of instability before it manifests in present-time measurements[12], [24]. Here, the model takes as input a sequence of past system states created, using sliding time windows or lagged features and outputs a stability assessment for a short future horizon. This anticipatory capability is critical in real-time operations because it gives operators a time buffer to take corrective actions, such as adjusting reactive power support or reconfiguring network topology. The challenge in early-warning prediction is that time-lagged features often increase model complexity, making the system more prone to overfitting, especially with limited historical data. To mitigate this, SLT-guided capacity control, through regularization, feature selection, or restricting hypothesis class complexity, ensures that predictive performance remains stable across both normal and stressed operating regimes[2].

In practice, a strong voltage stability monitoring system for a network like the Birnin Kebbi 330 kV corridor can combine all three approaches into a layered decision-support framework. The regression module offers ongoing stability margins for enhanced situational awareness, the classification module converts these into clear stability states for operator dashboards, and the early-warning module delivers predictive alerts for preventive action. By integrating these components within an SLT-informed design, the system not only attains high accuracy on historical test data but also demonstrates proven generalization to real-world conditions, manages scarce or noisy data effectively, and adjusts to changing grid configurations without losing reliability. This layered strategy transforms voltage stability analysis from merely diagnostic into a proactive, risk-based operational tool.

## IV  Data in an Under-Instrumented Environment

- Sources: Historical SCADA logs (voltages, currents,P/Q, frequency), operator tags/events, topology snapshots (breaker/transformer states), limited disturbance records.

- Preprocessing: Outlier screening, missing-value imputation, normalization; trend/seasonality removal where needed.

- Feature Engineering (SLT-friendly):

  - Instantaneous: per-bus V, θ; line P/Q; reactive reserves; transformer tap.

  - Aggregates/ratios: voltage deviation, Q/V sensitivity proxies, local loadability ratios.

  - Topology-aware: features aggregated over electrical neighborhoods (e.g., degree, effective impedance).

  - Temporal lags: stack recent samples to capture dynamics while keeping dimensions controlled (SRM principle).

- Synthetic Data (optional augmentation): When permitted, GAN-generated operating points can improve coverage of rare instability regimes; SLT principles still apply; capacity control and validation remain essential.

## V. SLT-Aligned Models for Voltage Stability

- Support Vector Machines (SVM):

  - Classification: Large-margin separation for secure vs. at-risk states; kernels (RBF/poly) capture nonlinearity; C and kernel parameters govern capacity.

  - Regression (SVR): ε-insensitive loss with L2 regularization; strong with noisy SCADA data; optimized with MSE/MAE.

- Kernel Ridge / Regularized Least Squares: Closed-form solutions, strong bias-variance control; suitable for continuous indices (VSI).

- Elastic Net / Lasso: Sparse linear baselines that remain competitive with good features; interpretable and robust when data are limited.

- Gaussian Processes (GPs) (note: Bayesian, but SLT-compatible via kernels): Probabilistic predictions with uncertainty estimates; useful for risk-aware triggering though computationally heavier.

- Hybrid Pipelines: Compact feature extractors (e.g., PCA) + SVM/SVR; or low-capacity shallow nets with strong regularization to respect SRM.

## VI  Handling Class Imbalance, Noise, and Domain Shift

- Imbalance: Rare instability events bias learners; use class-weighted losses, resampling, or synthetic minority oversampling (mindful of capacity).

- Noisy Labels: Robust losses (Huber), margin maximization, and validation on curated sets mitigate performance drift.

- Domain Shift: Variations between weekday and weekend, dry and wet seasons, or pre- and post-maintenance states; use time-blocked validation, covariate-shift diagnostics, and regular recalibration.

## VI  Evaluation Protocols and Metrics

- Train/Validation/Test Splits: Time-aware splits (no leakage); substation-specific folds for Birnin Kebbi; optional cross-station tests for generalization.

- Primary Metric (Regression): Mean Squared Error (MSE), aligns with continuous stability index targets and is the preferred metric for this work.

- Secondary Metrics: MAE (robustness to outliers), R² (explained variance). If a classifier is used for alarms: precision/recall, F1, ROC-AUC, and confusion matrix for operational interpretability.

- Robustness Checks: Sensitivity to missing features, noise injection, and topology perturbations; calibration curves if probabilistic outputs are used.

## VIII Birnin Kebbi Specific Workflow (Offline, SLT-Grounded)

- Data Curation: Collect SCADA-like measurements at Birnin Kebbi 330 kV and align with topology snapshots.

- Feature Design: Construct physically meaningful, capacity-controlled features (Section 4).

- Model Selection: Start with SVR (RBF kernel) for regression to VSI/VSM (primary MSE objective); compare to Elastic Net.

- SRM via Regularization: Tune C/γ (SVM/SVR) or λ (ridge/elastic net) using time-blocked validation; prevent overfitting.

- Imbalance Mitigation: Weighted losses or stratified sampling if “near-collapse” is rare.

- Uncertainty & Thresholding: Convert continuous predictions into warning/risk alarms with thresholds from validation; optionally apply conformal prediction for coverage guarantees.

- Interpretability: Sensitivity analysis, feature importance (kernel-SHAP compatible), and operator-friendly summaries.

- Deployment (Offline Ops): Daily/weekly runs producing stability dashboards and alarm thresholds for operator planning.

## IX Advantages of an SLT-First Approach

- Principled Generalization: Capacity control and margin theory reduce overfitting on small, noisy datasets.

- Data Efficiency: Strong performance without massive labeled data; well-suited to under-instrumented grids.

- Interpretability & Governance: Clear regularization paths, traceable hyperparameters, and defensible validation aligned with engineering practice.

- Compatibility: SLT models integrate cleanly with synthetic augmentation (e.g., GAN data) while maintaining theoretical guardrails.

## X  Open Challenges and Research Gaps

- Label Quality: Ground-truth stability. Labels can be noisy or delayed. Semi-supervised or weak-supervision methods merit exploration.

- Topology Dynamics: Frequent switching alters effective features; graph-aware kernels or topology-conditioned models are promising.

- Rare Extremes: Extreme events are still under-represented; add cautiously while ensuring distributional accuracy.

- Causality vs. Correlation: SLT optimizes prediction risk, not causal effect; combine with physics-based checks to avoid spurious signals.

- Scalability to Wider Grid: Extend from Birnin Kebbi to neighboring corridors; manage domain shift across substations and seasons.

## XI Future Work Roadmap

- Graph-Enhanced SLT: Kernel methods over electrical distances or Laplacian features to encode network physics.

- Conformal Risk Control: Distribution-free uncertainty sets for alarm thresholds with finite-sample guarantees.

- Hybrid (Physics + SLT): Physics-inspired features (Q–V/V–P sensitivities) feeding into SRM-controlled learners.

- Robust Validation: Time-blocked, seasonally stratified protocols; out-of-year testing to ensure genuine generalization.

- Operator-Centric Outputs: Adjusting thresholds for cost-sensitive alarms (false positives versus missed events) and straightforward scorecards.

## XII Conclusion

## The Birnin Kebbi 330 kV transmission network benefits from Statistical Learning Theory (SLT), which offers a reliable, data-efficient basis for improving offline voltage stability analysis. By deliberately aligning model selection, feature creation, and validation processes with SLT principles, utilities can better manage model complexity, reduce overfitting, and enhance interpretability—particularly when data is scarce or noisy. Employing Mean Squared Error (MSE) as the main metric for regression emphasizes accuracy in margin prediction models. Additionally, regularization methods such as 𝐿1/𝐿2 penalties, early stopping, and complexity control help preserve performance during actual operations. This careful approach ensures stability predictors stay clear and trustworthy for engineers and operational decision-making.

When combined with topology-aware features, scenario-driven data augmentation, and physics-consistent model constraints, SLT-based methods can extend beyond controlled test environments to handle the complex, evolving conditions of under-instrumented grids. This integration not only ensures accurate margin estimation but also provides robust early-warning capabilities, giving operators sufficient lead time to take corrective actions. This blend of theoretical rigor and practical flexibility makes SLT-driven voltage stability monitoring a feasible approach toward resilient, proactive, and explainable stability management in the Birnin Kebbi corridor, bridging the gap between academic model design and reliable field deployment.

References

[1]	S. R. Fahim et al., “Graph Neural Network-Based Approach for Detecting False Data Injection Attacks on Voltage Stability,” IEEE Open Access J. Power Energy, vol. 12, no. November 2024, pp. 12–23, 2025, doi: 10.1109/OAJPE.2024.3524268.

[2]	M. J. Abbass, R. Lis, M. Awais, and T. X. Nguyen, “Convolutional Long Short-Term Memory (ConvLSTM)-Based Prediction of Voltage Stability in a Microgrid,” Energies, vol. 17, no. 9, 2024, doi: 10.3390/en17091999.

[3]	M. A. E. Mohamed, S. A. Ward, M. F. El-Gohary, and M. A. Mohamed, “Hybrid fuzzy logic–PI control with metaheuristic optimization for enhanced performance of high-penetration grid-connected PV systems,” Sci. Rep., vol. 15, no. 1, pp. 1–24, 2025, doi: 10.1038/s41598-025-09336-w.

[4]	G. Dudek, P. Piotrowski, and D. Baczyński, “Intelligent Forecasting and Optimization in Electrical Power Systems: Advances in Models and Applications,” Energies, vol. 16, no. 7, pp. 1–11, 2023, doi: 10.3390/en16073024.

[5]	U. Mohamed Khider de Biskra, H. Yacine, S. Ahmed, and N. Djemai, “الجمهورية‬ الشعبية‬ الديمقراطية‬ الجزائرية‬ République Algérienne Démocratique et Populaire العالي‬ التعليم‬ وزارة‬ والبحث‬ العلمي‬ Ministère de l’enseignement supérieur et de la recherche scientifique Option : Réseaux Electriques Anes Bouhanik D”.‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬

[6]	D. Singh, N. Elgeberi, M. Aljaidi, R. Kumar, R. E. Al Mamlook, and M. K. Singla, “Optimal Location of Renewable Energy Generators in Transmission and Distribution System of Deregulated Power Sector: A Review,” Energy Eng. J. Assoc. Energy Eng., vol. 122, no. 3, pp. 823–859, 2025, doi: 10.32604/ee.2025.059309.

[7]	P. Pijarski, P. Kacejko, and P. Miller, “Advanced Optimisation and Forecasting Methods in Power Engineering Introduction to the Special Issue,” Energies, vol. 16, no. 6, 2023, doi: 10.3390/en16062804.

[8]	B. D. Dimd, S. Voller, U. Cali, and O. M. Midtgard, “A Review of Machine Learning-Based Photovoltaic Output Power Forecasting: Nordic Context,” IEEE Access, vol. 10, pp. 26404–26425, 2022, doi: 10.1109/ACCESS.2022.3156942.

[9]	T. Berghout, M. Benbouzid, T. Bentrcia, X. Ma, S. Djurović, and L. H. Mouss, “Machine learning-based condition monitoring for pv systems: State of the art and future prospects,” Energies, vol. 14, no. 19, pp. 1–24, 2021, doi: 10.3390/en14196316.

[10]	M. N. Dehaghani, T. Korotko, and A. Rosin, “AI Applications for Power Quality Issues in Distribution Systems: A Systematic Review,” IEEE Access, vol. 13, no. January, pp. 18346–18365, 2025, doi: 10.1109/ACCESS.2025.3533702.

[11]	F. P. de Albuquerque, E. C. M. da Costa, and L. H. B. Liboni, “Generative AI applied for synthetic data in PMU,” Energy Reports, vol. 14, no. February, pp. 103–115, 2025, doi: 10.1016/j.egyr.2025.05.062.

[12]	S. Qiu et al., “Deep Learning Techniques in Intelligent Fault Diagnosis and Prognosis for Industrial Systems: A Review,” Sensors, vol. 23, no. 3, 2023, doi: 10.3390/s23031305.

[13]	Y. Zahraoui et al., “AI Applications to Enhance Resilience in Power Systems and Microgrids A Review,” Sustain. , vol. 16, no. 12, 2024, doi: 10.3390/su16124959.

[14]	M. Amroune, I. Musirin, T. Bouktir, and M. M. Othman, “The amalgamation of SVR and ANFIS models with synchronized phasor measurements for on-line voltage stability assessment,” Energies, vol. 10, no. 11, 2017, doi: 10.3390/en10111693.

[15]	A. Dineva, “Evaluation of Advances in Battery Health Prediction for Electric Vehicles from Traditional Linear Filters to Latest Machine Learning Approaches,” Batteries, vol. 10, no. 10, 2024, doi: 10.3390/batteries10100356.

[16]	A. R. Singh, R. S. Kumar, M. Bajaj, C. B. Khadse, and I. Zaitsev, “Machine learning-based energy management and power forecasting in grid-connected microgrids with multiple distributed energy sources,” Sci. Rep., vol. 14, no. 1, pp. 1–23, 2024, doi: 10.1038/s41598-024-70336-3.

[17]	N. Khosravi, D. Çelik, H. Bevrani, and S. Echalih, “Microgrid stability: A comprehensive review of challenges, trends, and emerging solutions,” Int. J. Electr. Power Energy Syst., vol. 170, no. May, 2025, doi: 10.1016/j.ijepes.2025.110829.

[18]	H. Yang, R. C. Qiu, and H. Tong, “Reconstruction Residuals Based Long-term Voltage Stability Assessment Using Autoencoders,” J. Mod. Power Syst. Clean Energy, vol. 8, no. 6, pp. 1092–1103, 2020, doi: 10.35833/MPCE.2020.000526.

[19]	M. A. M. Khan, “Ai and Machine Learning in Transformer Fault Diagnosis: a Systematic Review,” Am. J. Adv. Technol. Eng. Solut., vol. 1, no. 01, pp. 290–318, 2025, doi: 10.63125/sxb17553.

[20]	A. A. Elsaeidy, N. Jagannath, A. Garrido Sanchis, A. Jamalipour, and K. S. Munasinghe, “Replay Attack Detection in Smart Cities Using Deep Learning,” IEEE Access, vol. 8, pp. 137825–137837, 2020, doi: 10.1109/ACCESS.2020.3012411.

[21]	S. Isaac, S. Adebola, A. Ayokunle, K. James, and A. Claudius, “Voltage collapse prediction using artificial neural network,” Int. J. Electr. Comput. Eng., vol. 11, no. 1, pp. 124–132, 2021, doi: 10.11591/ijece.v11i1.pp124-132.

[22]	M. Karthikeyan, D. Manimegalai, and K. Rajagopal, “Enhancing voltage control and regulation in smart micro-grids through deep learning - optimized EV reactive power management,” Energy Reports, vol. 13, no. January, pp. 1095–1107, 2025, doi: 10.1016/j.egyr.2024.12.072.

[23]	N. Sahani, R. Zhu, J. H. Cho, and C. C. Liu, “Machine Learning-based Intrusion Detection for Smart Grid Computing: A Survey,” ACM Trans. Cyber-Physical Syst., vol. 7, no. 2, 2023, doi: 10.1145/3578366.

[24]	P. O. Ezepue, T. C. Urama, and M. A. T. Omar, “Systematic Stock Market Characterisation and Development: Perspectives from Random Matrix Theory, Option Pricing, Genetics, and Global Economics,” J. Math. Financ., vol. 09, no. 02, pp. 105–151, 2019, doi: 10.4236/jmf.2019.92007.